# 24 HOUR AMBULATORY ECG (HOLTER) MONITORING: A BRIEF HISTORY, COMMON USES, AND ADVANTAGES

# Ibeh God’spower Chinenyeze, T. Ashcheulova

# The first ambulatory electrocardiograms (AECG) were conducted by Norman J. Holter and Dr. W. R. Glasscock in 1961. Although Holter’s first efforts consisted of an 85 pound radio transmitter and a receiving device that required the same amount of analysis time as the time recorded, the first commercial AECG device manufactured in 1962 by Del Mar Engineering Laboratories under the name Avionics Research Products Corporation was much lighter and easier to use. Bruce Del Mar teamed up with Holter to develop and produce a smaller, lighter “Electrocardiocorder®” and high speed review technique that allowed a practical method to record and interpret long term AECGs of 24 or more hours on magnetic tape.

# A large number of research and clinical findings were published immediately after the introduction of this technology to the medical community leading to wide spread acceptance of the technique by 1966. Through the Holter monitoring technique, patients’ ECGs are routinely recorded and analyzed during normal daily activity, even during sleep.

# Del Mar Avionics and other medical device manufacturers continued to improve upon Holter’s earlier concepts by miniaturizing portable tape recorders, speeding up and simplifying analysis techniques and increasing the number of channels that could be recorded and analyzed.

# The first commercially available systems could only record 10 hours and playback speed was limited to 60 times faster than real time. Concerns regarding the volume of data, accuracy of analysis, operator dependency/fatigue and other technical considerations resulted in the development of computerized models, "algorithms," for analysis of the ECG and summary report generation for physician interpretation.

# Over the next decades, high speed playback and computer assisted analysis provided the physician with valuable information regarding the electrical activity of the patient’s heart that are especially useful for the determination of cardiac abnormalities, treatment and drug efficacy, pacemaker follow-up, Sudden Infant Death Syndrome (SIDS), differential diagnosis of patient symptoms and activity related cardiac changes.

# Augmentation of the analysis technique has included refinements in arrhythmia, ST, Pacemaker and heart rate variability analysis. Signal Averaging techniques and high resolution analysis of the ECG signal have also been added to increase clinical utility of AECG. Computerized analysis of the QT-T of each normal beat is a recent innovation in the ever expanding use of Holter ECG data.

# Originally designed using magnetic tape that could record only 2 channels, recording limitations such as wow, flutter, tape head misalignment and mechanical malfunctions were eliminated with the use of a PCMCIA type II digital recorder which acquired 3 Leads of 8-bit data on a removable Flash memory device. As the cost and size of greater memory capacity has decreased, digital recording has improved significantly in a few short years. Capable of recording as many as 12 Leads, digital recorders can sample and store at very high rates with remarkable resolution for very long periods of time.

# COMMON USES

- Establishing the presence of arrhythmia

- Further inspection of the severity of arrhythmia

- Measuring the QT-interval and estimating characteristics of the T-wave in different circumstances

- Studying the heart rate during an atrial fibrillation in different circumstances

- Studying the activity of the nervous system controlling pulse

- Studying the possibility of coronary heart disease because of chest pains occurring when resting or exercising

- Evaluating the effectiveness of medication

- Evaluating the drawbacks of medication concerning heart rate, QT-interval, and increasing severity of arrhythmia

- Analysing the activity of a pacemaker

- Analysing workload

# ADVANTAGES

# A continuous Electrocardiograph (ECG) is recorded as you go about our daily activities.

- It allows ECG monitoring over a 24 hour period and is used to detect heart rhythm disturbances.

- It will diagnose potentially dangerous heart conditions that could otherwise remain silent and hidden.

# Early diagnosis may reduce the risk of heart attack, heart failure and stroke.